## Slide 1: Autosave Lab
John Sinclair
ORNL/SNS
sinclairjw@ornl.gov
January 2019

## Slide 2: Procedure
  Summary
  Build and run the IOC application
  Camonitor one:ramp
    Note that the value cycles from 0 to 10
  Caput one:limit 5
    Now the value cycles from 0 to 5
  Stop and restart the IOC application
    The change to one:limit is lost – autosave can fix this
  Reconfigure with autosave and repeat
    The change to one:limit will be preserved across restarts

## Slide 3: Details (1/4)
  Open three terminal windows
  Window 1 - build and run the IOC application
    cd /home/training/epics-train/jwsExamples/autosave
    make
    cd iocBoot/iocasExample1
    chmod +x st.cmd
    ./st.cmd
  Window 2 – monitor one:ramp
    camonitor one:ramp
  Window 3 – modify one:limit
    caput one:limit 5

## Slide 4: Details (2/4)
  Window 1 – stop and restart the IOC application
    exit
    ./st.cmd
  Window 2
    After camonitor reconnects, notice that modification to one:limit has been lost

## Slide 5: Details (3/4)
  Window 1 – reconfigure IOC with autosave
    exit
    cd ../..
    Edit the following files and uncomment autosave related content – search for AUTOSAVE
      configure/RELEASE – 1 line
      asExample1App/Db/one.db – 2 lines
      asExample1App/src/Makefile – 2 lines
      iocBoot/iocasExample1/st.cmd – 18 lines (some are comments within comments)
    make clean uninstall
    make

## Slide 6: Details (4/4)
  Window 1 –start the IOC application
    cd iocBoot/iocasExample1
    ./st.cmd
  Window 2 – monitor one:ramp
    camonitor one:ramp
  Window 3 – modify one:limit
    caput one:limit 5
  Window 1 – stop and restart as before
  Window 2
    Wait for reconnect
    Now the modification to one:limit is preserved
  Examine and explore content of files /tmp/ioc1*