## Slide 1: User Interfaces
Kay Kasemir
Jan. 2022

## Slide 2: EPICS: Distributed System
Servers Clients
IOC
IOC
IOC
User Interface
Archive
Alarm Handler

## Slide 3: “Program" vs. ”Display Manager”
Tcl/tk, Matlab, Delphy, Visual Basic, Python/Qt, … and CA client library
You can program sophisticated displays
Nobody else will understand and maintain your code
In 5..10 years, you have to re-implement it
Edd/dm, medm, dm2k, edm, CS-Studio *.opi, CS-Studio *.bob
Use provided Widgets
  ‘Label’, ’Text Update’, …
Operators can easily tweak your displays or create new ones
In 5..10 years, there is hope for translating displays to a new tool

## Slide 4: Over the years

## Slide 5: What changes, what doesn’t?
Basic dial-by-number
Import “Contacts”, Name & Number
Custom ring tones, icons, .. in “Contacts”
Speed dial
Apps

## Slide 6: Over the years
Since ~1990:
record(ai, “my_record”) {
field(DTYP, “MyDevice”) field(INP , “@channel2”) field(SCAN, “1 second”) ...
More supported platforms: vxWorks, RTEMS, Linux, OS X, Windows, .. 68000, Intel, PPC, Arm, ..
IOC
User Interface
edd/dm 198x
medm 199x
edm 200x
CS-Studio 201x 2009: BOY 2017: Display Builder 2019: Web Runtime
Also: tcl/tk/ca, python/qt/ca, ..
Limited compatibility.

## Slide 7: Limited Compatibility
EDM
object activeXTextClass
beginObjectProperties
x 265
y 440
w 155
h 20
font "arial-bold-r-10.0"
fgColor index 5
value {
”Hello"
}
endObjectProperties
MEDM
Text {
object {
x= 265
y= 440
width=155
height=20
}
"basic attribute” {
clr=54
}
textix=”Hello"
}
Qt Designer
<widget class="caLabel" name="caLabel_0">
<property name="foreground">
<color alpha="255">
<red>10</red>
<green>0</green>
<blue>184</blue>
</color>
</property>
<property name="text">
<string>Hello</string>
</property>
<property name="geometry">
<rect>
<x>265</x>
<y>440</y>
<width>155</width>
<height>20</height>
</rect>
</property>
</widget>
Dump of tool’s in-memory “model”.
Why not just
<text>Hello?

## Slide 8: Simple, General Format
<widget type="label">
<x>268</x>
<y>440</y>
<width>155</width>
<height>20</height>
<text>Hello<text>
<foreground_color>
<color red="0" green="0" blue="0”/>
</foreground_color>
</widget>
Display Builder
XML
  Somewhat human-readable
  Parsers for every programming language
“label”, “text_update”
  Not hinting at specific implementation

## Slide 9: Example: ORNL/SNS
Accelerator
  EDM displays
  CS-Studio Data Browser
  CS-Studio Alarms
  CS-Studio MPS Bypass Table
Beam Lines
  CS-Studio Display Builder (Web Runtime for read-only remote access)
  CS-Studio Data Browser
  CS-Studio Alarms
  CS-Studio Scan UI

## Slide 10: Possible Approaches
Pick one tool and keep it
Stability
Eventually no updates
Freeze OS?
Use today’s tool to the fullest, then update to next tool
All the new features
Need to re-implement displays
Use today’s tool carefully, then upgrade to compatible tool
Can use most displays for a long time
Need to re-implement some
Miss out on some features