## Slide 1: Control System Studio
Kay Kasemir
Feb. 2022

## Slide 2: Control System (CS) Studio
User Interface tools
  Display editor & runtime
  Strip Chart
  Channel Access utilities
Also
  Archive system
  Alarm Handler
  Site-Specific support for logbook, PV names, ..
.. integrated user-interface tool for Windows, Linux, OS X

## Slide 3
What does CS-Studio look like?

## Slide 4: Australian Square-Kilometer Array Pathfinder (ASKAP)
Oct. 2012, Juan Guzman, http://www.aps.anl.gov/epics/tech-talk/2012/msg02113.php

## Slide 5: ITER
ITER-FPSC-vBetaVersionPanelsOPI-UserManual.doc, Nadine Utzel, 2011

## Slide 6: ORNL ‘CG-1D’ Beam Line
Neutron Tomography, EPICS/CSS since Jan. 2013

## Slide 7: ORNL SNS ‘VULCAN’ Beam Line
Engineering Diffractometer, EPICS/CSS since March 2014

## Slide 8: BNL NSLS2
Kunal Shroff, May 2014

## Slide 9: Airplane Simulator/Test
Somewhere …

## Slide 10
What is CS-Studio?

## Slide 11: CS-Studio Components
Common Use
Display Builder
Data Browser
Probe
PV Table
PV Tree
Channel Access
PV Autocomplete from History
Selected Use
Alarm System
Archive Appliance, RDB Archiver, Channel Archiver
ChannelFinder
Olog, SNS Elog
PV Access, MQTT
Autocomplete from Channel Finder, SNS PV database, Archive

## Slide 12: Integration: Alarm…
Context-Menu
Complete Alarm Perspective: Tree view, Table of current alarms

## Slide 13: Integration: Alarm…

## Slide 14: Integration: Alarm…

## Slide 15: Integration: Alarm…

## Slide 16: Integration: From Archive to Logbook

## Slide 17: CS-Studio
is a collection of components. Integrated Workflow:
  Alarm display
  Display Builder (Channel Access)
  Data Browser (with RDB Archive)
  Logbook (SNS Elog)
Result:

## Slide 18: Evolution of CS-Studio
Since ~2010: Operational at several sites
Eclipse
Channels
PV Table
Probe
PV Tree
Data Browser
BOY
Scan
… more …
Alarms
Java 8
Phoebus
Channels
PV Table
Probe
PV Tree
Data Browser
Display Builder
Scan
… more …
Alarms
Java 9, 10
2019: SNS beam lines 2021: ESS, ALS, FHI, partially: FRIB, NSLS2
Eclipse
Channels
PV Table
Probe
PV Tree
Data Browser
Display Builder
Scan
… more …
Alarms
Java 8
Since ~2016: SNS beam lines, planned for ESS
SWT
JavaFX
2020: SNS beam lines
D.B. Runtime
Alarm Table (R/O)
Web

## Slide 19: From 2014 to 2018

## Slide 20: Getting Started with CSS
Start `css`

## Slide 21: Exercise: Probe
Use “Probe” in toolbar or Menu Applications, Display, Probe
Enter PV name “sim://sine”
Open another Probe for “training:random” (or some other PV from your IOC)
Close Probe
Open it again
Note previously used PVs in history as you enter new PV
Right-click on the “Probe” tab, Select “Split Horizontally”, and move one of the probes to new panel.

## Slide 22: Exercise: Data Browser
Menu Applications, Display, Data Browser
Right-click on plot, Add PV, “sim://sine”
Wait a little, press Stagger button, then zoom and select a region on the time axis

## Slide 23: Exercise: PV Tree
Menu Applications, Display, PV Tree
Enter a PV from an IOC, like “training:random”

## Slide 24: CSS PV Exchange
PV in any CSS Tool  Context Menu  Select other PV Tool
Try:
Right-click on item in PV Tree, select Data Browser

## Slide 25: More Display Arrangements
Tab Context Menu:
  Split Horizontally/Vertically
  Detach
  Lock Pane
Window Menu:
  Show/Hide Toolbar
  Always show tabs?
  Save Layout As .. / Load Layout

## Slide 26: Saved Layout Example
Hide the toolbar
Open File Browser
Split Pane Horizontally, leave file browser at left
Lock the left pane
Window, Save Layout As.., “Demo 1”
Create another one as “Demo 1”
Switch between them

## Slide 27: Settings
CSS saves its settings in ~/.phoebus
  Change that via –Dphoebus.user=/path/to/other/dir on startup
    Your ‘start’ script could copy certain saved layouts into that dir to share a set of layouts
For command line settings, run with -help:
For details on the ”-settings” file, see online help