## Slide 1: Autosave Lab
John Sinclair,
Kay Kasemir
Feb. 2022

## Slide 2: Procedure
  Run IOC without autosave
  Observe that changes are lost when IOC is stopped and restarted
  Reconfigure with autosave and repeat

## Slide 3: Run IOC without autosave
  Build and run IOC
    cd /ics/examples/09_autosaveApp
    make
    cd /ics/examples/iocBoot/ioc_autosave
    ./st.cmd
  In another window
    css –resource file:/ics/examples/09_autosaveApp/opi/autosave.bob
    Change the “limit” and “step”
  Stop the IOC, start it again
    Did “limit” and “step” retain what you entered?

## Slide 4: Configure IOC with autosave
  Update IOC config and run IOC
    Note the “Include AUTOSAVE support” section in here:
    gedit /ics/examples/09_autosaveApp/src/Makefile
    So autosave support was already included, but not configured.
    Adjust the IOC startup file, save it, then run IOC
    cd /ics/examples/iocBoot/ioc_autosave
    gedit st.cmd
    ./st.cmd
    When you now adjust “limit” and “step”, wait 5 seconds, stop and restart the IOC, does it retain what you entered?
    Check the *.db file that you load for “info…” tags
    that select what to save/restore