## Slide 1: Channel Finder
Kay Kasemir
Aug. 2022

## Slide 2: EPICS: Distributed & loosely coupled
Start IOC  PVs are online
  No need to register IOC
  No need to reserve PV names
Like internet
  Flexibility!
  Few central bottlenecks
Start IOC  PVs are online
  No spell checker
  No “list all IOCs”, “list all PVs”
Like internet
  Chaos!
  Likely need some level of control…

## Slide 3: History: APS ‘IRMIS’, ‘crawler’
Resulting info
  Which IOC last held that record?
  When did it last boot? Where?
  Initial value of fields?
  Current value of fields?
SNS: Abandoned
  Parsing st.cmd, *.db, following ‘cd’ commands and macros is hard!
IRMIS=Integrated Relational Model of Installed Systems

## Slide 4: Channel Finder 101
Searchable list of “Channels”
Optional “Tags”
  ‘Magnet’
  ‘ImportantSetting’
Optional “Properties”
  iocNAME = ‘NameOfIOC’
  Type=‘Magnet’
  Section=‘Front End’
  Archive=‘Monitor, 00:01:00’
  Zpos = ‘10m’ (position from start of accelerator)
  Readback=‘NameOfAssociatedReadbackPV’
?!
?!
Find iocName for a PV
List all ‘Magnet’ channels
List all PVs with iocName=‘someIOC’
Get ‘archive’ settings for PVs
Locate Readback for some setpoint

## Slide 5
Ecosystem
Channel Finder Web Service
ElasticSearch (used to be MySQL, ca. 2009)
Operator Interface/GUU Name Lookup, Channel Table CS-Studio
RecSync All record names, IOC Name, ‘info’ tags
…
IOCs
High-Level Apps Python
cf.find(‘DTL* type=Magnet’)
Maintenance, Statistics
REST API, Shell, Python
Create Archive Config
REST API, Shell, Python
IRMIS Import

## Slide 6: Initial Setup
Install & run Elasticsearch
   Open web browser to http://localhost:9200
Install & run ChannelFinder
  Open web browser to http://localhost:8080
Install & run Recceiver
Instrument IOCs to publish their records
In training setup, see /ics/examples/26_ChannelFinder

## Slide 7: Instrumenting an IOC
abcApp/src/Makefile
ABC_DBD += reccaster.dbd
ABC_LIBS += reccaster
iocBoot/iocAbc/st.cmd
# Nice, but optional
epicsEnvSet("IOCNAME", "abc-ioc1")
epicsEnvSet("ENGINEER", "Fred")
epicsEnvSet("LOCATION", "Rack 123")

## Slide 8: CS-Studio: PV Name Completion
PVs from example IOC
Channel Finder demo channels

## Slide 9: CS-Studio: Channel ‘Table’
More elaborate demo data from BNL

## Slide 10: Search Options: “*Pattern* tag prop=*value*”

## Slide 11: Integration

## Slide 12: Especially useful for Disconnected Channels
What IOC is supposed to provide this channel?
When was IOC last seen?
Who to contact?
What host? Where on that host?

## Slide 13: Create you own tools
List all IOCs and their PV counts
Create archive config

## Slide 14: Elasticsearch: Count PVs
curl http://localhost:9200/channelfinder/_count?pretty
OK..

## Slide 15: Elasticsearch: List IOCs
curl -XGET "http://localhost:9200/channelfinder/_search" -H 'Content-Type: application/json' -d'
{
"query":
{
"nested":
{
"path": "properties",
"query": { "match": { "properties.name": "iocName" } }
}
},
"size": 0,
"aggs":
{
"IOCs":
{
"nested": { "path": "properties" },
"aggs":
{
"filter_ioc":
{
"filter": { "bool": { "filter": [ { "term": { "properties.name": "iocName" } } ] } },
"aggs": { "ioc": { "terms": { "field": "properties.value", "size": 500 } } }
}
}
}
} }’ Well…

## Slide 16: But it’s fast
Aggregate IOC names for 500k channels: 0.075 seconds

## Slide 17: Python: Loop over all Channels, catalog IOCs, …
Loops over 500k PVs in about 10 seconds.
Nested structure

## Slide 18: Questions
What happens when a record is removed from an IOC?
  It remains in the channel finder but as “Inactive”
How to really delete channel?
  Web interface, …

## Slide 19: Python Notebook Example

## Slide 20: Channel Finder
Database of channels
IOCs can publish their records
  With host name, contact person, ..
  ”Recceiver” tracks Active/Inactive PV status
Easy name lookup in CS-Studio
You may add other information and use in python scripts