## Slide 1: User Interfaces
Kay Kasemir
July 2026

## Slide 2: EPICS: Distributed System
Servers Clients
IOC
IOC
IOC
Archive
Alarm Handler
Display

## Slide 3: First Steps into the Deep End
Run 01_first_steps/very_first.db to get ‘training:random’
Start css
Open Applications, Utilities, File Browser
Right-click on 01_first_steps, New Display, “my_first”
Double-click “My Display”, type “My Very First Display”, enter
Change Label “Some Value:” into “Value:”
Change “<sim://sine>” PV into “training:random”
Push Run button
Change PREC and EGU fields of the PV
  Via ‘caput’ in terminal
  Via ‘dbpf’ in IOC shell
  Via ‘Probe’ in CSS
  Via text editor in very_first.db
Add Label “Scan:”
Add Combo Box for PV “training:random.SCAN”
Add Label and Text Entry for PV “training:random.CALC”
.. for “training:random.A”
Right-click on value in runtime and open Data Browser
Zoom/pan to show data
Right-click on section tab to “Split Left/Right”, arrange like this:

## Slide 4: Over the years

## Slide 5: What changes, what doesn’t?
Basic dial-by-number
Import “Contacts”, Name & Number
Custom dial tone, icons, .. in “Contacts”
Speed dial
Apps

## Slide 6: Over the years
Since ~1990:
record(ai, “my_record”) {
field(DTYP, “MyDevice”) field(INP , “@channel2”) field(SCAN, “1 second”) ...
More supported platforms: vxWorks, RTEMS, Linux, OS X, Windows, .. 68000, Intel, PPC, Arm, ..
IOC
User Interface
edd/dm 198x
medm 199x
edm 200x
CS-Studio 201x 2009: BOY 2017: Display Builder 2019: Web Runtime
Also: tcl/tk/ca, python/qt/ca, ..
Limited compatibility.

## Slide 7: “Program" vs. ”Display Manager”
Tcl/tk, Matlab, Delphy, Visual Basic, Python/Qt, … and CA/PVA client library
You can program sophisticated displays
Nobody else will understand and maintain your code
In 5..10 years, need to re-implement it all
Edd/dm, medm, dm2k, edm, CS-Studio *.opi, CS-Studio *.bob
Use provided Widgets
  ‘Label’, ’Text Update’, …
Operators can easily tweak your displays or create new ones
In 5..10 years, there is hope for translating displays to a new tool

## Slide 8: Limited Compatibility
EDM
object activeXTextClass
beginObjectProperties
x 265
y 440
w 155
h 20
font "arial-bold-r-10.0"
fgColor index 5
value {
”Hello"
}
endObjectProperties
MEDM
Text {
object {
x= 265
y= 440
width=155
height=20
}
"basic attribute” {
clr=54
}
textix=”Hello"
}
Qt Designer
<widget class="caLabel" name="caLabel_0">
<property name="foreground">
<color alpha="255">
<red>10</red>
<green>0</green>
<blue>184</blue>
</color>
</property>
<property name="text">
<string>Hello</string>
</property>
<property name="geometry">
<rect>
<x>265</x>
<y>440</y>
<width>155</width>
<height>20</height>
</rect>
</property>
</widget>
Dump of tool’s in-memory “model”.
Why not just
<text>Hello?

## Slide 9: General Format
<widget type="label">
<x>268</x>
<y>440</y>
<width>155</width>
<height>20</height>
<text>Hello<text>
<foreground_color>
<color red="0" green="0" blue="0”/>
</foreground_color>
</widget>
Display Builder
XML
  Somewhat human-readable
  Parsers for every programming language
“label”, “text_update”
  Not hinting at specific implementation

## Slide 10: Example: ORNL/SNS
Accelerator
  EDM displays*
  CS-Studio Display Builder*
  CS-Studio Data Browser
  CS-Studio Alarms
  CS-Studio MPS Bypass Table
Beam Lines
  CS-Studio Display Builder*
  CS-Studio Data Browser
  CS-Studio Alarms
  CS-Studio Scan UI
* Web-EDM and Display Builder Web Runtime for read-only web access

## Slide 11: Conversions
EDM
MEDM
Older CS-Studio ‘*.opi’
CS-Studio Display Builder
Web Runtime
Web Runtime
manual or automatic
manual
Largely automatic conversion of essential display content for files going back to 199x
EDM
Display Builder

## Slide 12: Possible Approaches
Pick one tool and keep it
Stability
Eventually no more updates
Freeze OS?
Use today’s tool to the fullest, then update to next tool
All the new features
Need to re-implement displays
Use today’s tool carefully, then upgrade to compatible tool
Can use most displays for a long time
Need to re-implement some
Miss out on some features